DC-S6883WRA

Architectural and Engineering Specifications

Version 1.0

(Aug. 25, 2025)

PART 1: PLEASE REFER TO ATTACHED DOCUMENTS - OVERVIEW & FORMAT SAMPLES

PART 2: PRODUCTS

Division 28 – Electric Safety and Security

Level 1 - 28.20.00 – Video Surveillance

Level 2 - 28.21.00 – Surveillance Cameras

Level 3 - 28.21.13 – IP Cameras

Manufacturer

- IDIS Co., Ltd.
IDIS Tower, 344 Pangyo-ro, Bundang-gu
Seongnam-si, Gyeonggi-do, 13494, Republic of Korea
Tel: 	+82 31 723 5028
Fax: 	+82 31 723 5100

General

Product Description

The DC-S6883WRA is an 8MP PTZ camera designed for professional surveillance. It supports H.264, H.265, and MJPEG compression formats, combined with IDIS Intelligent Codec for efficient bandwidth and storage usage. The camera has a 40x AF optical zoom lens (6.5–260mm, F1.69–F4.92) with P-Iris control. It is rated IK10 vandal-resistant and IP66/NEMA4X weatherproof. Long-range IR LED illumination covers up to 400m, and True WDR (120dB) improves visibility under varying lighting conditions. The A-Cut feature is an AI-based technology from IDIS that extracts and indexes objects or people in real-time video for search and tracking. Smart Failover allows local recording on microSD/SDHC/SDXC cards up to 512GB during network outages. The camera supports ONVIF and can be integrated with IDIS DirectIP NVRs. Additional features include Alarm In/Out and power options via 24VAC or PoE (IEEE 802.3bt Class 8).

General Specification

- The IP camera shall be equipped with an 8 Megapixel 1/1.8" CMOS sensor (3840 x 2160).

- The IP camera shall be equipped with a 6.5–260mm motorized AF optical zoom lens, F1.69–F4.92, with P-Iris control.

- The IP camera shall be a true day/night camera with a mechanical IR cut filter (ICR) for improved low-light performance, switchable automatically via light sensor or remotely.

- The IP camera shall support True Wide Dynamic Range (WDR) for improved image clarity in high-contrast scenes (120 dB).

- The IP camera shall be equipped with long-range IR LED illumination up to 400m (1,312 ft).

- The IP camera shall support 2DNR and 3DNR (Dynamic Noise Reduction) to reduce image noise and optimize storage and bandwidth usage.

- The camera shall be enclosed in a dome housing with vandal resistance (IK10) and IP66/NEMA4X weatherproof protection.

- The camera shall have a 10/100/1000Base-T RJ-45 Ethernet port with auto-sensing and full/half-duplex mode.

- The camera shall support Power over Ethernet (PoE) IEEE 802.3bt Class 8 and 24VAC power input.

- The camera shall include a CVBS video output for local setup and testing.

- The IP camera shall be equipped with an on-board microSD/SDHC/SDXC card slot, supporting up to 512GB for edge recording.

- The camera shall support Smart Failover to prevent data loss during short network interruptions or recorder overload.

- The camera shall support a maximum resolution of 3840 x 2160 at up to 30 ips (images per second).

- The IP camera shall provide network connection using H.265, H.264, and MJPEG compression.

- The IP camera shall support quadruple streams in DirectIP 2.0 protocol mode.

- The IP camera shall conform to the ONVIF Profile S/T/M.

- The IP camera shall be equipped with an embedded web server (IDIS Web) which works independently using a web browser with ActiveX plug-in.

- The IP camera shall include security features such as: Digest authentication, Password protection, Brute force delay protection, User access log, IP filtering, IEEE802.1x(EAP-TLS), SSL Encryption, HTTPS Encryption.

- The IP camera shall support bandwidth limitation and MAT for optimized network usage.

- The IP camera shall have easy network access via UPnP (Universal Plug and Play) function and embedded mDNS (Multicast DNS) protocol.

- The IP camera shall have Digital Image Stabilization (EIS) to reduce the effect of camera shake or vibration.

- The IP camera shall have Intelligent Video Analytics, including:

- A-Cut Support

- Object Metadata: Human, Vehicle, Face

- Object Attributes: Human [Gender, Age, Bag, Hat, Colors], Vehicle [Car, Truck, Bus, Bike (Bicycle, Motorcycle), ETC, Colors], Face [Gender, Age, Glasses, Hat, Mask]

- IDLA: Object Detection, Intrusion, Loitering, Line Crossing, Face Detection

- IDLA Pro: Crowd Detection, Abandoned Object Detection, Removed Object Detection, Fall Detection

- ETC: Video Motion Detection, Active Tampering Alarm

Protocol Specification: DirectIP 2.0

- The IP camera shall have DirectIP 2.0 mode.

- DirectIP 2.0 protocol shall provide easy connection to DirectIP NVR for automatic discovery and video streaming configuration.

- DirectIP 2.0 shall provide the compatibility with IDIS Solution Suite VMS or ONVIF for third-party software solutions.

- DirectIP 2.0 shall support camera can be linked to IDIS software solution such ad IDIS Center and IDIS Solution Suite, or 3rd party solution while it is being connected to a DirectIP NVR.

- DirectIP 2.0 camera shall be compatible with DirectIP 1.0 NVR as well as DirectIP 2.0 NVR.

- DirectIP 2.0 camera shall be unavailable for No-password login when connecting to DirectIP 2.0 NVR and IDIS Software Solutions.

- DirectIP 2.0 protocol shall provide Quadruple streams.

- DirectIP 2.0 protocol shall support H.264 and H.265 and MJPEG compression.

※ The integration between this model and the NVR will be supported in the next version of the NVR firmware, scheduled for the second half of 2025.

Technical Specification

Video Specification

- Image Sensor: 1/1.8” CMOS

- Maximum Resolution: 3840 x 2160

- Scanning Mode: Progressive Scan

- Lens Type: AF(Auto Focus) Optical Zoom Lens, IR Corrected Lens

  - f= 6.5mm ~ 260mm

  - F1.69 ~ F4.92

- Iris Control: P-Iris

- Angular Field of View (H: Horizontal, V: Vertical, D:Diagonal):

  - Wide: 64.6º(H), 38.4º(V), 72.2º(D)

  - Tele: 1.79º(H), 1.00º(V), 2.08(D)

  - Pan Range, Speed: 360° (Endless), 0.02 ~ 240°/sec (preset 240°/sec)

  - Tilt Range, Speed: 100° (-10~90°), 0.02 ~ 240°/sec (preset 240°/sec)

  - Zoom Range: x40

- Minimum Illumination:

- Color : 0.13 lux @ F1.69

- B/W : 0 lux (IR LED On)

- S/N Ratio: more than 45dB

- Maximum Frame Rate: 30ips : 3328 x 1872(WDR)

- Video Resolution: 3328 x 1872, 1920x1080, 1280x720, 640x360

- Video Compression: H.265, H.264 (MP), M-JPEG

- Video Compression Level: 4 levels: Basic, Standard, High, Very High

- Video Bitrate Control: H.264 - CBR / VBR, H.265 - CBR / VBR

- Intelligent Codec: Off (Default) / On

- Motion Adaptive Transmission (MAT): Off (Default) / On

- Multi-Video Streaming: Quadruple streams

- Dynamic Range: 120dB (True WDR)

- Electronic Shutter Speed: Auto / Manual (1/30 ~ 1/10000), Anti-Flicker, Slow Shutter (1/7.5, 1/15)

- True Day & Night: Yes (ICR)

- IR Distance (number of LEDs): 400 m / 1,312.3ft (2ea)

- Image Setting: Configurable Exposure, White Balance, Self-Adjusting Video Mode(Sharpness, Contrast, Colors, Brightness Control)

- Mirroring / Pivot: Horizontal / Vertical

- Image Stabilizer: Yes (EIS)

- Privacy Masking: 32 Zones

  - Intelligent Video Analytic: A-cut Support

  - Object Metadata: Human, Vehicle, Face

  - Object Attribute: Human[Gender, Age, Bag, Hat, Colors], Vehicle[Car, Truck, Bus, Bike(Bicycle, Motorcycle), ETC, Colors], Face[Gender, Age, Glasses, Hat, Mask]

  - IDLA: Object Detection, Intrusion, Loitering, Line Crossing, Face Detection

  - IDLA Pro: Crowd Detection, Abandoned Object Detection, Removed Object Detection, Fall Detection

  - ETC: Video Motion Detection, Active Tampering Alarm

- Analog Video Output: 1 Terminal Block

- Advanced PTZ options: 256 presets

- De-fog : Yes

Audio Specification

- Audio Compression Algorithm: Opus, ADPCM 16K, G.726, G.711 u-Law, G.711 a-Law

- Audio Input / Output: Line-in 1ea / Line-out 1ea

- Audio Impedance:

  - Max output level : 1Vrms

  - Input impedance (1Vpp 1KHz) : 3.79kΩ

  - Output Impedance (1Khz) : 306.9Ω

- Two-way Audio Communication: Yes

Network Specification

- Port: RJ-45, 10/100Base-T, 1 port

- Network Protocols: DirectIP 2.0 Protocol, IPv4, IPv6, RTP/RTSP/TCP, RTP/RTSP/HTTP/TCP, RTP/UDP RTSP/TCP, HTTP, HTTPS, FTP, SNTP, SMTP, FEN, mDNS, uPNP, SNMPv2

- Security: Digest authentication, Password Protection, User access log, IP Filtering, IEEE802.1x(EAP-TLS), Chained Fingerprint, SSL Encryption, HTTPS Encryption

- Remote Access Client: DirectIP NVR Connection, IDIS Web, IDIS Mobile, IDIS Solution Suite

- Recording Session Buffer (NLTSrec): Up to 60MB

- Edge Storage: micro SD/SDHC/SDXC, Smart Failover (Up to 512GB)

Security Specification

- FIPS 140-3 Level 3, Digest authentication, Password Protection, Brute force delay protection, User access log, IP Filtering, IEEE802.1x(EAP-TLS), Chained Fingerprint, SSL Encryption, HTTPS Encryption

- Maximum User Access: 10 (Live), 1 (Recording), 1 (Search), 2 (Admin)

Alarm and Event Specification

- Alarm Input / Output: 8 / 2

  - Alarm Input: 8 TTL, NC/NO Programmable, 4.3V(NC) or 0.3V(NO) threshold, 5V DC

  - Mechanical or electrical switches can be wired to the Alarm-In and GND connectors. The maximum voltage should not exceed 5V.

  - Alarm Output: 2 TTL open collector, 30mA @ 5 VDC

- Trigger Events: Motion Detection, Alarm in, Audio detection, Tampering, Object Detection, Intrusion, Loitering, Line Crossing, Face Detection, Crowd detection, Abandoned object detection, Removed object detection, Fall detection, Violence detection

- Event Notification: Remote S/W, Email (with Image)

Environmental Specification

- Operating Temperature:

  - IRLED OFF : -40°C ~ +55°C (-40°F ~ +131°F)

  - IRLED ON :  -40°C ~ +40°C (-40°F ~ +104°F)

*Starting up at above -20°C (-4°F)

- Operating Humidity: 0% to 90%

- Vandal-proof Enclosure: IK10

- Outdoor Ready: IP66, Heater

Electrical Specification

- Power Source:24VAC, PoE(IEEE 802.3bt, Class 8)

- Power Consumption:

  - HEATER, IR OFF

- 24V~, 2.0A, 36.4W, 50/60Hz

- PoE, IEEE 802.3bt(Class 8), 34.8W

B.  HEATER, IR ON

- 24V~, 3.0A, 55.9W, 50/60Hz

- PoE, IEEE 802.3bt(Class 8), 55.7W

3.  Regulatory Approvals: FCC, CE, KC

Mechanical Specification

- Dimensions (Ø x H): Ø242mm x 401.8mm (Ø9.52" x 15.82")

- Unit Weight: 7.46kg (16.44 lbs)

Software Specification

- Supported Language: English, French, German, Italian, Spanish, Dutch, Polish, Portuguese, Hungarian, Czech, Russian, Danish, Swedish, Finnish, Turkish, Croatian, Korean, Japanese, Chinese-PRC, Chinese-Taiwan

- Version History

| Version | Writer | Revision Date | Remarks |
| --- | --- | --- | --- |
| 1.0.0 | GT Team | Aug, 25, 2025 | Initial Release |